## Slide 1: Applicability of EMG-based Computerized Classifiers for Discriminating Myogenic & Neurogenic Myopathies A Systematic Review
Eybpoosh M.H.
BSc. of Biomedical engineering
Eybpoosh S.
PhD candidate in Epidemiology

## Slide 3: Muscular Disorders
Muscular disorders
Neurogenic
Myogenic
Guillain-Barre Syndrome
Carpal Tunnel Syndrome
Amyotrophic Lateral Sclerosis
Dystrophies (e.g. Duchenne)
Myotonies (Thomsen )

## Slide 4: Treatment
Whether the etiology of muscular dysfunction is Myogenic or Neurogenic, therapeutic approaches would be different.
So
The source of defect should be diagnosed accurately

## Slide 5: Diagnostic methods
Biopsy
  Usually checks if the cause is Myogenic or not
  Invasive and expensive for the patient
MRI
  Can discriminate Myogenic and Neurogenic myopathies from each other
  Is expensive for patient
  Non-invasive but usually not completely acceptable and comfortable for the patient
  Is expensive for the setting: Requires expensive equipments and expert staffs
  The diagnosis process is subjective: Relies on radiologist’s opinion

## Slide 6: Diagnostic methods, cont...
EMG based methods
  Can discriminate Myogenic and Neurogenic myopathies from each other
  Minimally invasive (less than biopsy)
  Suites almost all patients’ preferences
  Cost and time efficient: More suitable than MRI for resource-limited settings
  The diagnosis process is subjective: Relies on expert staff’s interpretation
EMG-based computerized classifiers
  The diagnosis process is NOT subjective: it is computerized and automotive

## Slide 9: Can EMG-based computerized classifiers be used in practice?
YES
But if they are:
Accurate
Sensitive
Specific
Reliable

## Slide 10: The aim of this study
To provide a comprehensive picture about validity & reliability of EMG-based computerized classifiers in detecting source of muscle defect

## Slide 11: Methods
Systematic review
  PubMed, ScienceDirect, and Cochrane library were searched
    January 2000 - 9th April 2014
Eligible articles
  Original articles published in peer-reviewed journals
  Proposing an EMG-Based computerized classifier
Quality apprisal
  QUADAS-2 checklist
Data
  Methodological characteristics of the study
  Validity indices
  Type of classifier

## Slide 12: Results

## Slide 13: Results , cont...
Turkey: 7
Poland: 3
Cyprus: 3
USA: 2
Canada: 2
China: 2
Iran: 1

## Slide 14: Results , cont...
A wide variety of classification algorithms (n= 40) were proposed and tested.
Most were able to classify source of muscle defect into three groups:
  Myogenic
  Neurogenic
  None

## Slide 17: Results , cont...
Sensitivity, specificity, and accuracy in all studies were reported.
These indices in correctly diagnosing source of defect in 38 algorithms were at least 0.75 (max= 1.0).
Two other algorithms were
  Sensitivity= 0.70, specificity= 0.68, accuracy= 0.72
  Sensitivity= NR, specificity= 0.70, accuracy= NR
The algorithms’ replicability was not assessed in some studies.
  In reported studies, most algorithms were replicable.

## Slide 18: Results , cont...

## Slide 19: Patient selection
Did not:
  Enroll consecutive or random sample of patients
  Avoid case–control designs
  Avoid inappropriate exclusions
    Hard to diagnosis patients

## Slide 20: Flow and Timing
High risk studies did not:
  Incorporate appropriate interval between the index test and gold standard.
  Include all patients in the analysis.
    There was cases of loss to follow up

## Slide 21: Proposed method
High risk studies did not:
  Interpret index test results without knowledge of the results of the gold standard.

## Slide 22: Results , cont...

## Slide 23: Conclusion
There are great potential benefits for EMG-based computerized classification algorithms in practice.
Evidences suggest potential for validity and replicability of these algorythms.
However,
Enough rigorous evidence is still required for recommending these methods’ application for clinical practice.
Conducting more methodologically sound studies and comprehensive assessment of validity and reliability of each algorithm is highly recommended.
Methodological details should be reported clearly in the manuscripts.

## Slide 25
Contact
E-mail:
M.h.eybpoosh@gmail.com
Tell:
0912-6764051